[image: image1.jpg]



Fire Safety Plan > Doc Ref: FSP
[image: image2.jpg]aAXiS



Checklist | Fire Safety Plan

Version 1


Checklist – Fire Safety Plan

	Project:
	LFB Beckenham appliance bay doors


The following site rules will be displayed by the Person-In-Charge (PIC) of the project within the canteen / office facilities.

Note: The PIC will, with the assistance of the Safety Advisor, insert project specific information within these rules where required (See RED italics).
	
	
	
	
	
	

	
	Fire Safety Plan – Information & Requirements
	

	
	
	

	
	Project Name:
	
	LFB Beckenham Appliance doors
	

	
	
	

	
	Organisation & Responsibilities
	

	
	
	

	
	The FIRE SAFETY CO-ORDINATOR for this project is the Person-in-Charge (PIC):
	

	
	
	

	
	Name
	Simon Mantle
	
	Mobile Nr
	07507664908
	
	

	
	
	

	
	The FIRE MARSHALL(S) for this project are:
	

	
	
	

	
	Name
	Simon Mantle
	
	Mobile Nr
	07507664908
	
	

	
	
	

	
	Name
	
	
	Mobile Nr
	
	
	

	
	
	

	
	Name
	
	
	Mobile Nr
	
	
	

	
	
	

	
	Training & Induction
	

	
	
	

	
	All members of the workforce will be briefed / inducted by the PIC before they commence work on site, a briefing register will be kept by the PIC on the Project Safety File.
	

	
	
	

	
	Site Precautions: Arrangements for this project:
	

	
	
	

	
	Detection
	
	
	

	
	
	
	
	

	
	Raising the alarm
	
	
	

	
	
	
	
	

	
	Temporary lighting
	
	N/A

	

	
	
	
	
	

	
	Smoking areas: Arrangements for those who smoke:
	

	
	
	

	
	Smoking is only permitted outside the building / site / working area(s) and it is banned within 3m of all buildings including welfare accommodation, offices, stores & flammable stores. Butts, matches and lighters to be disposed of in a proper manner.
	

	
	
	


Checklist – Fire Safety Plan / Continued
	
	
	

	
	Hot Works: Arrangements for permits to works:
	

	
	
	

	
	A formally documented procedure designed to provide additional safeguards for the specified activities will be operated, all package contractors will be required to comply and their works will not commence without a permit being in place. Permits are obtainable from the PIC.
	

	
	
	

	
	Temporary Buildings & Accommodation: Arrangements for this project:
	

	
	
	

	
	The following temporary buildings and accommodation will be provided:
	

	
	
	

	
	Welfare
	
	Welfare container located to the right hand side of the car park as you look at the fire station.

	

	
	
	
	
	

	
	Offices
	
	Inside the welfare container

	

	
	
	
	
	

	
	Storage
	
	
	

	
	
	
	
	

	
	Emergency Procedures: Arrangements for this project:
	

	
	
	

	
	Raising the alarm
	
	You must alert the fire marshal (either in person or by mobile phone), your workmates and anyone else in the vicinity.


	

	
	
	
	
	

	
	Fighting the fire
	
	You may attempt to use a fire extinguisher to put out the fire, but only if you have been trained in its use and you do not put yourself or others at risk in doing so.
	

	
	
	
	
	

	
	Evacuating the site
	
	If the alarm is sounded the workforce and any visitors must leave the site by the escape routes and exits which are clearly marked on the site plan displayed in the rest facilities. You must not stop to collect tools, equipment and personal items and may only attempt to render assistance to others if you do not put yourself or others at risk in doing so. 
	

	
	
	
	
	

	
	Muster Point
	
	After leaving the site you must assemble at the muster point. You must stay at the muster point and must not attempt to re-enter the site until you are advised by the PIC that it is safe to do so. You must not leave to go home without informing the PIC.
	

	
	
	
	
	

	
	Location of the Muster Point
	
	The Muster Point is located at:

Car Park

	

	
	
	
	
	

	
	Calling the Brigade
	
	In the event of an emergency the PIC will be responsible for calling the Brigade.


	

	
	
	
	
	


Checklist – Fire Safety Plan / Continued
	
	
	

	
	Fire Brigade access, facilities, liaison & co-ordination: Arrangements:
	

	
	
	

	
	Access
	
	Access for the Brigade will be via: On site

	

	
	
	
	
	

	
	Fire fighting shafts
	
	Fire fighting shafts are located at: N/A

	

	
	
	
	
	

	
	Fire lifts
	
	Fire lifts are located at: N/A

	

	
	
	
	
	

	
	Temporary hoists
	
	Temporary hoists are located at: N/A

	

	
	
	
	
	

	
	Dedicated routes
	
	Dedicated escape routes are located at:


	

	
	
	
	
	

	
	Sprinklers
	
	Sprinkler installations serve the following floor(s)/area(s):


	

	
	
	
	
	

	
	Floor loadings
	
	The following loading limitations apply:


	

	
	
	
	
	

	
	Dry risers
	
	Dry riser inlets are available at:


	

	
	
	
	
	

	
	Wet risers
	
	Wet riser inlets are available at:


	

	
	
	
	
	

	
	Fire points
	
	Fire points are available at:


	

	
	
	
	
	

	
	Temporary buildings
	
	Temporary building and accommodation are located at: Welfare container

	

	
	
	
	
	

	
	Hazardous items 
	
	Flammable liquids are stored at:

Gas cylinders are stored at:

Gas mains are present at the following locations:

Electrical risers are present at the following locations:

Temporary holes in floor slabs are located at:


	

	
	
	
	
	

	
	Co-ordination
	
	The PIC will be responsible for liasing with the Senior Officer.
	

	
	
	
	
	


Checklist – Fire Safety Plan / Continued

	
	
	
	
	

	
	Security measures to prevent Arson: Arrangements for this project:
	

	
	
	

	
	Signing in / out
	
	You must sign in when starting work and sign out when finishing. The register will be kept in the office or designated welfare area by the PIC; this will also apply if there is a need to leave the site for any reason.
	

	
	
	
	
	

	
	Access points
	
	You must only enter the site via the designated access points and must play your part in ensuring the gates and doors to work and storage areas, compounds or cages are properly secure at all times, particularly at meal breaks, to prevent unauthorised access.
	

	
	
	
	
	

	
	Special measures
	
	Client security, CCTV etc??


	

	
	
	
	
	

	
	Materials storage: Arrangements for this project:
	

	
	
	

	
	Allocation of space
	
	The PIC will allocate space within the working area(s) or compound for the storage of materials. Premature delivery and storage of unreasonable quantities of potentially flammable materials will not be permitted.
	

	
	
	
	
	

	
	Flammable liquids and gases generally
	
	The PIC must be informed of flammable liquids or gases to be brought onto and stored on site.
	

	
	
	
	
	

	
	Flammable gases
	
	Contractors, sub-contractors and others are to provide the appropriate secure cages for on-site LPG and gas storage, or they must arrange for cylinders to be brought to and taken away from site on a daily basis. Cages are to be placed on a clean, dry and level hardstanding with appropriate warning signage and kept free of flammable waste, rubbish and weeds.
	

	
	
	
	
	

	
	Flammable liquids
	
	Contractors, sub-contractors and others are to store flammable liquids in bunded areas with a 10% safety factor. In the event of this not being possible or appropriate they shall provide fire-resistant stores, cupboards or bins and in this case the storage of flammable liquids is to be strictly limited to a maximum of 50 litres or a half-days supply whichever is the least. All storage facilities are to have appropriate warning signage.
	

	
	
	
	
	

	
	Waste control: Arrangements for this project:
	

	
	
	

	
	General provisions
	
	Skips will be provided for the collection and removal of waste. The workforce is to ensure all debris or waste is bagged and cleared at the end of the day or shift and their working areas are kept tidy. The burning of debris or waste on site or within skips is forbidden.
	

	
	
	

	
	Specific provisions
	
	Ensure walk ways and traffic routes are clear for LFB staff and vehicles

	

	
	
	
	
	


Checklist – Fire Safety Plan / Continued

	
	
	

	
	Monitoring & Compliance: The PIC will monitor all requirements of the Site Fire Plan, paying special attention to the following:
	

	
	
	

	
	Briefing/Induction – as required
	
	The PIC will update and brief the workforce (& new members) where changes is procedures / working methods or configuration of the site require it


	

	
	
	

	
	Hot Works & Permit Arrangements - continuous
	
	Compliance with PTW arrangements. All unauthorised or non-compliant works by any member of the workforce will be stopped immediately. No hot works are to be carried out during the period of two hours before the end of the working day or shift.


	

	
	
	

	
	Fire extinguishers & alarms - weekly
	
	All those carrying out hot works of any kind are to ensure they have an extinguisher in the immediate vicinity.


	

	
	
	

	
	Access / egress & escape routes & working areas - weekly
	
	High standards of housekeeping are expected, all routes and working areas are to be kept from of waste, debris of flammable materials all of which is to be removed to the skips or from site on a regular basis.


	

	
	
	


	
	
	

	
	We the undersigned confirm we have been briefed by the Person-in-Charge (PIC) and we understand the requirements of the SITE FIRE PLAN
	

	
	
	


	
	
	

	
	Name (print)
	
	Company
	
	Signature
	
	Date
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	


	
	
	

	
	Name (print)
	
	Company
	
	Signature
	
	Date
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	


Axis Europe Plc
Checklists / File 5 of 7
Page 1 of 6
Axis Europe Plc | Page 1 of 6

